## Report
MidAmerican Energy Company
2018-2022 South Dakota Energy Efficiency Plan
Rebate Justification and Payback
Program | Measure | Rebate Justification | Payback (Years)
Residential Equipment | CAC | approximate 50% of incremental cost plus $60 | 6.72
Residential Equipment | ASHP | approximate 50% of incremental cost plus $60 | 5.65
Residential Equipment | Furnace | approximate 50% of incremental cost plus $60 | 3.88
Residential Equipment | Furnace Fans | approximate 50% of incremental cost | 1.69
Residential Equipment | Smart Thermostat - Combo | approximate 50% of incremental cost plus $50 installation fee | 1.44
Residential Appliance Recycling | Refrigerators | full removal cost plus $50 additional incentive | N/A
Residential Appliance Recycling | Freezers | full removal cost plus $50 additional incentive | N/A
Residential Load Control | Direct Load Control | Same as Iowa | N/A
Nonresidential Equipment | Furnace | Same as residential furnace | 1.56
Nonresidential Equipment | Boiler | approximate 50% of incremental cost | 4.28
Nonresidential Equipment | CAC | Same as residential CAC | 5.74
Nonresidential Equipment | VSD - Process | approximate 50% of incremental cost | 1.76
Nonresidential Equipment | LED Lighting | Iowa rebate structure | 15.12
Nonresidential Equipment | Custom Electric | industry average rebate for custom projects | 9.27
Nonresidential Equipment | Custom Gas | industry average rebate for custom projects | 7.29