## Sheet1
NorthWestern Energy
Docket EL13-033
Responses to Data Request 1
1-1 Please provide the calculations for total revenue and annual kwh, similar to calculations provided in EL11-028.
The following paragraph was provided by Darren Swenson:
Pump will operate pivot 1 for 4 days, then pivot 2 for 4 days and back
to pivot 1. Estimate irrigating 96 days. So, one 60 hp 3 phase motor
and five 3/4 hp 3 phase motors and one 2 hp 3 phase motor running
continous for 96 days or 2,304 hours will use how many kilowatts?
Based on the above specifications we developed the demand as follows:
Horsepower is converted to KW by multiplying by .75.
| Horsepower | KW
Pump 1 | 60 | 45
5 X 3/4 HP | 3.75 | 2.8125
2 HP | 2 | 1.5
Total | 65.75 | 49.3125
The annual kwh = KW X 24 hours X 96 days X 50%. |  | 56808
We added the 50% factor to compensate for rainy
periods and to make the usage consistent with the
historical usage from other currrent customers.
We then determined how to break the usage by rate period:
|  | Hours | Period %
| Hours | per month | Per Month
on-peak (3-7pm, mon - fri) | 4 | 88 | 12.22%
shoulder (9 am - 3pm and 7pm - 9pm, mon - fri) | 8 | 176 | 24.44%
off-peak (all other hours) | 12 | 456 | 63.33%
Following is the revenue determination based on the use per rate period:
| Season kwh | Season revenue
on-peak (3-7pm, mon - fri) | 6943.2 | 774.3751
shoulder (9 am - 3pm and 7pm - 9pm, mon - fri) | 13886.4 | 882.203
off-peak (all other hours) | 35978.4 | 1566.1398
Season Min Base Charge ($30 per month) |  | 180
| 56808 | 3402.7178
1-1 For what reason were no property taxes included in the calculation?
We excluded the property tax from both the expense side and revenue calculation.
The property taxes are a pass-through expense and the revenue is based on the current
recovery rate and tracker balance. Since property taxes are a 1 for 1 collection through
the tracker, we excluded the dollars to eliminate any timing difference in the contribution calculation.